## Sheet1
INVADIOLITE 11471 11472 COMPATIBILITY TEST
Ballast description | [5 empty] | Rated voltage |  | Derating voltage
[6 empty] | Input voltage |  | Input voltage
| Brand | Model | Startup mode | Number of tubes | PF | 120 | 277 | 120 | 277
1 | ULT8im | B232IUNVHW-A | Instant | 1 | 0.803 | ✔ | ✔ | ✔ | ✔
2 | ULT8im | B232IUNVHW-A | Instant | 2 | 0.803 | ✔ | ✔ | ✔ | ✔
3 | ULT8im | B232IUMVEL-A | Instant | 2 | 0.995 | ✔ | ✔ | ✔ | ✔
4 | ULT8im | B332IUNVHE-A | Instant | 3 | 0.995 | ✔ | ✔ | ✔ | ✔
5 | SYLNANIA | QHE 1x32T8/UNV ISN-SC | Instant | 1 | 0.997 | ✔ | ✔ | ✔ | ✔
6 | SYLNANIA | QTP 2x32T8/UNV ISN-SC | Instant | 2 | 0.998 | ✔ | ✔ | ✔ | ✔
7 | SYLNANIA | QHE 2x32T8/UNV ISN-SC | Instant | 2 | 0.998 | ✔ | ✔ | ✔ | ✔
8 | SYLNANIA | QHE 2x32T8/UNV ISN-SC | Instant | 2 | 0.997 | ✔ | ✔ | ✔ | ✔
9 | SYLNANIA | QHE 3x32T8/UNV ISC-SC | Instant | 3 | 0.999 | ✔ | ✔ | ✔ | ✔
10 | SYLNANIA | QTP 3x32T8/UNV PSN-SC | Instant | 3 | 0.999 | ✔ | ✔ | ✔ | ✔
11 | SYLNANIA | QHE 3x32T8/UNV PSH-HT-SC | Instant | 3 | 0.997 | ✔ | ✔ | ✔ | ✔
12 | SYLNANIA | QTP 3x32T8/UNV ISN-SC | Instant | 3 | 0.997 | ✔ | ✔ | ✔ | ✔
13 | SYLNANIA | QTP 3x32T8/UNV ISN-SC | Instant | 4 | 0.995 | ✔ | ✔ | ✔ | ✔
14 | SYLNANIA | QHE 4x32T8/UNV PSH-HY | Instant | 4 | 0.998 | ✔ | ✔ | ✔ | ✔
15 | SYLNANIA | QTP 4x32T8/UNV ISN-SC | Instant | 4 | 0.996 | ✔ | ✔ | ✔ | ✔
16 | SYLNANIA | QTP 4x32T8/UNV ISN-SC | Instant | 4 | 0.996 | ✔ | ✔ | ✔ | ✔
17 | SYLNANIA | QTP 4x32T8/UNV ISN-SC | Instant | 4 | 0.996 | ✔ | ✔ | ✔ | ✔
18 | SYLNANIA | QTP 4x32T8/UNV ISN-SC | Instant | 4 | 0.997 | ✔ | ✔ | ✔ | ✔
19 | Triad | B3232IUNVHP-N | Instant | 2 | 0.999 | ✔ | ✔ | ✔ | ✔
20 | Triad | B332IUNVHP-A | Instant | 3 | 0.934 | ✔ | ✔ | ✔ | ✔
21 | Triad | B332IUNVHP-A | Instant | 3 | 0.994 | ✔ | ✔ | ✔ | ✔
22 | Triad | B432IUNVHP-A | Instant | 4 | 0.995 | ✔ | ✔ | ✔ | ✔
23 | UItraMAX pseries T8 | GE232MAX-N/ULTRA | Instant | 2 | 0.998 | ✔ | ✔ | ✔ | ✔
24 | UItraMAX pseries T8 | GE259MAX-G-N-DIYB | Instant | 2 | 0.997 | ✔ | ✔ | ✔ | ✔
25 | UItraMAX pseries T8 | GE332MAX-G-L | Instant | 3 | 0.996 | ✔ | ✔ | ✔ | ✔
26 | UItraMAX pseries T8 | GE332MAX-G-L | Instant | 3 | 0.996 | ✔ | ✔ | ✔ | ✔
27 | UItraMAX pseries T8 | GE432MAXP-H/ULTRA | Instant | 4 | 0.998 | ✔ | ✔ | ✔ | ✔
28 | UItraMAX pseries T8 | GE-432-MAX-L/ULTRA | Instant | 4 | 0.999 | ✔ | ✔ | ✔ | ✔
29 | UItraMAX pseries T8 | GE432MAX-G-N | Instant | 4 | 0.997 | ✔ | ✔ | ✔ | ✔
30 | UItraMAX pseries T8 | GE432MAX-G-L | Instant | 4 | 0.997 | ✔ | ✔ | ✔ | ✔
31 | ULTRA START T8 | GE-432MVPS-H-42T | Instant | 4 | 0.997 | ✔ | ✔ | ✔ | ✔
32 | PHILIPS ADVANCE | Centium® ICN-2S28-N | Instant | 1 | 0.995 | ✔ | ✔ | ✔ | ✔
33 | PHILIPS ADVANCE | Centium® ICN-2S24 | Instant | 1 | 0.992 | ✔ | ✔ | ✔ | ✔
34 | PHILIPS ADVANCE | Centium® ICN-2S24 | Instant | 2 | 0.995 | ✔ | ✔ | ✔ | ✔
35 | PHILIPS ADVANCE | Centium® ICN-2S28-N | Instant | 2 | 0.995 | ✔ | ✔ | ✔ | ✔
36 | PHILIPS ADVANCE | Centium® ICN-2M32-MC | Instant | 2 | 0.998 | ✔ | ✔ | ✔ | ✔
37 | PHILIPS ADVANCE | OPTANIUM® IOP-4P32-LW-N | Instant | 4 | 0.996 | ✔ | ✔ | ✔ | ✔
38 | ADVANCE | Centium® ICN-2M32-MC | Instant | 2 | 0.997 | ✔ | ✔ | ✔ | ✔
39 | PROLINE T8 | GE332MV-N-DIY | Instant | 3 | 0.997 | ✔ | ✔ | ✔ | ✔
40 | PROLINE T8 | GE-432-MV-N-42T | Instant | 4 | 0.997 | ✔ | ✔ | ✔ | ✔
41 | HI HowARD INDUSTRISE | EP2/352IS/MV/MC/HE | Instant | 2 | 0.997 | ✔ | ✔ | ✔ | ✔
42 | HI HowARD INDUSTRISE | EPH4/32IS/MV/SC/HW | Instant | 4 | 0.999 | ✔ | ✔ | ✔ | ✔
43 | Universal Electronic Ballast | B295PUNVHE-soloc Basic-12 TM | Instant | 2 | 0.998 | ✔ | ✔ | ✔ | ✔
44 | OSRAM | QTP 2x40T12/UNV RS SC | Instant | 2 | 0.999 | ✔ | ✔ | ✔ | ✔
45 | KEYSTONE | KTEB-332-UV-IS-H-P | Instant | 3 | 0.996 | ✔ | ✔ | ✔ | ✔
46 | Piemiun | BB-T8/UNV-2x32 | Instant | 2 | 0.995 | ✔ | ✔ | ✔ | X
47 | PHILIPS ADVANCE | Centium® ICN-2S24-N | Instant | 1 | 0.993 | ✔ | ✔ | X | ✔
48 | PHILIPS ADVANCE | Centium® ICN-2S24-N | Instant | 2 | 0.993 | ✔ | ✔ | X | ✔
49 | PHILIPS ADVANCE | Ambistar TM REB-2P32-SC | Instant | 2 | 0.549 | ✔ | — | ✔ | —
50 | Robertson | Isv232t8l203p 20116 | Instant | 2 | 0.56 | ✔ | — | ✔ | —
51 | ST△NDARD | E232T8IS120/N/AS/BULK | Instant | 2 | 0.996 | ✔ | — | ✔ | —
52 | PROLINE T8 | GE432-120-RES | Instant | 4 | 0.586 | ✔ | — | ✔ | —
53 | GE Elextronis Ballast | B140R120HP | Instant | 1 | 0.982 | ✔ | — | ✔ | —
54 | ST△NDARD | E432T8IS120/N/AS/BLUK | Instant | 4 | 0.997 | ✔ | — | ✔ | —
55 | ST△NDARD | E232T8IS120/N/BULK 120V 60Hz | Instant | 1 | 0.998 | ✔ | X | ✔ | X
56 | ST△NDARD | E232T8IS120/N/BULK 120V 60Hz | Instant | 2 | 0.998 | ✔ | X | ✔ | X
57 | FULHAM WORKHORSE3 | WH3-120-L | Instant | 1 | 0.943 | ✔ | X | ✔ | X
58 | FULHAM WORKHORSE3 | WH3-120-L | Instant | 2 | 0.943 | ✔ | X | ✔ | X
59 | DAMAR | ELECTRONICT8 BALLASTITEM NO.1688A | Instant | 1 | 0.803 | ✔ | X | ✔ | X
60 | DAMAR | ELECTRONICT8 BALLASTITEM NO.1688A | Instant | 2 | 0.803 | ✔ | X | ✔ | X
Note on B37: 超长条
Note on B38: 超长条
Note on B47: 120W